## Experiment
Note: This sheet contains all of the experiment overview information.
Experiment Name
JHT2
Experiment Summary
Plus/minus experiments with no Flp present to determine basal expression (leakiness) of reporter. Experimental conditions the same as in HT143, substituting a blank plasmid (BW363) for the TRE-Flp-shFF4 plasmid (BW2909).
Designed by: |  | Performed by:
Justin Letendre, Ben Weinberg, Katherine Kiwimagi, Jake Beal |  | Justin Letendre
Experiment Workflow
Cell Plating |  | → | Transfection |  | → | Induction |  | → | Cytometry 1 |  | → | Cytometry 2 |  | → | Cytometry 3 |  | → | Cytometry 4
Date: | 2018-04-28 |  | Date: | 2018-04-29 |  | Date: | 2018-04-29 |  | Date: | 2018-04-29 |  | Date: | 2018-04-29 |  | Date: | 2018-05-01 |  | Date: | 2018-05-03
Time: | 12:00 |  | Time: | 8:00 |  | Time: | 8:00 |  | Time: | 14:00 |  | Time: | 20:00 |  | Time: | 8:00 |  | Time: | 8:00
Density: | 200k/ml |  | Plate Type: | 48w |  | Plate Type: | 48w |  | Plate Type: | 96w |  | Plate Type: | 96w |  | Plate Type: | 96w |  | Plate Type: | 96w
[9 empty] | Machine: | Attune Nxt |  | Machine: | Attune Nxt |  | Machine: | Attune Nxt |  | Machine: | Attune Nxt
Dose Information |  |  |  | Filename Template 1_2_3_4_5.fcs
DOX DOSES (ng/mL) |  |  |  | 1 | Experiment Name
– | 0 |  |  | 2 | Date
+ | 100 |  |  | 3 | Cytometry #
|  |  |  | 4 | Plate #
DNA Doses, ng |  |  |  | 5 | Cell #
DOSE | Blank | Blank
X | 5 | 50
DOSE | Blank | LC41
A | 35 | 20
B | 45 | 10
DOSE | Blank | LC20
C | 5 | 50
D | 15 | 40
DOSE | FlpO | LC41
E | 45 | 10
^^Dose B from HT143

## TASBEConfig
TASBEConfig Preference | Default Value | Documentation | Updated Value | Key
testing |  | Settings to disable features for testing purposes |  | TASBEConfig Structures/Sections
testing.fakeFigureSaves | 0 | For testing purposes, do not actually save figures, only pretend to. |  | The rest of the preferences
flow |  | General settings for flow cytometry data analysis
flow.rangeMin | 0 | bin minimum (log10 scale)
flow.rangeMax | 7 | bin maximum (log10 scale)
flow.outputPointCloud | 0 | if true, output point-cloud for each calibrated read
flow.pointCloudPath | CSV/ | location for point-cloud outputs
flow.channel_template_file |  | TASBE setting migration
plots |  | General settings for plotting figures
plots.visiblePlots | 0 | If true, plots are visible; otherwise, they are hidden for later saving
plots.graphPlotSize | 6,4 | Default size (in inches) X,Y for data graph figures
plots.heatmapPlotSize | 5,5 | Default size (in inches) X,Y for scatter/heatmap figures
plots.largeOutliers | 0 | If true, outliers in heatmap figures are large, for output in small figures
plots.heatmapPlotType | image | Set to 'image', 'contour', or 'surf' to determine type of heatmap images
calibration |  | General settings for calibration figures
calibration.overrideUnits |  | When set, force a.u. to ERF scaling value to this value
calibration.overrideAutofluorescence |  | When set, force autofluorescence to use this as mean AF
calibration.overrideCompensation |  | When set, use this matrix instead of computing a linear compensation model
calibration.overrideTranslation |  | When set, use this matrix instead of computing a color translation model
calibration.plot | 1 | When true, make diagnostic plots while computing color models
calibration.visiblePlots |  | If true, calibration plots are visible; otherwise, they are hidden for later saving
calibration.graphPlotSize |  | Default size (in inches) X,Y for calibration data graph figures
calibration.heatmapPlotSize |  | Default size (in inches) X,Y for calibration scatter/heatmap figures
compensation |  | General settings for spectral bleed compensation plots
compensation.minimumDrivenLevel | 100 | Uniformly ignores all less than this level of a.u.
compensation.maximumDrivenLevel | 65535 | Uniformly ignores all greater than this level of a.u.
compensation.minimumBinCount | 10 | Ignores bins with less than this many elements
compensation.highBleedWarning | 0.1 | Warns about high bleed at this level
compensation.plot |  | Determines whether compensation plots should be created?
compensation.visiblePlots |  | If true, compensation plots are visible; otherwise, they are hidden for later saving
compensation.plotSize |  | Default size (in inches) X,Y for compensation figures
beads |  | Settings controlling the interpretation of color calibration beads
beads.catalogFileName |  | Location of bead catalog file
beads.binIncrement | 0.02 | Resolution of histogram bins used for finding bead peaks
beads.forceFirstPeak |  | If set to N, lowest observed bead peak is forced to be interpreted as Nth peak
beads.plot |  | When true, make diagnostic plots while computing bead unit calibration
beads.visiblePlots |  | If true, bead unit calibration plots are visible; otherwise, they are hidden for later saving
beads.plotSize | 5,3.66 | Size (in inches) X,Y for bead unit calibration figures
OutputSettings |  | Settings controlling batch plotting
OutputSettings.DeviceName
OutputSettings.Description
OutputSettings.FixedInducerAxis |  | Set to fix limit min,max of inducer count plot axis
OutputSettings.FixedHistogramAxis |  | Set to fix limit min,max of histogram count plot axis
OutputSettings.FixedBinningAxis |  | Set to fix limit min,max of binning variable plot axis
OutputSettings.FixedNormalizedInputAxis |  | Set to fix limit min,max of normalized input plot axis
OutputSettings.FixedOutputAxis |  | Set to fix limit min,max of output plot axis
OutputSettings.FixedNormalizedOutputAxis |  | Set to fix limit min,max of normalized output plot axis
OutputSettings.FixedRatioAxis |  | Set to fix limit min,max of ratio plot axis
OutputSettings.FixedSNRAxis |  | Set to fix limit min,max of signal-to-noise ratio plot axis
OutputSettings.FixedDeltaSNRAxis |  | Set to fix limit min,max of delta signal-to-noise ratio plot axis
OutputSettings.ColorPlots | 1 | If true, color plots created
OutputSettings.PlotPopulation | 1 | If true, population plots created
OutputSettings.PlotNormalized | 1 | If true, normalized plots created
OutputSettings.PlotNonnormalized | 1 | If true, nonnormalizaed plots created
OutputSettings.PlotEveryN | 1 | If true, plots every N
OutputSettings.PlotTickMarks | 0 | If true, displays tick marks
OutputSettings.FigureSize |  | Size (in inches) X,Y for figures
OutputSettings.csvfile |  | May be either an fid or a string
plusminus |  | Settings controlling plusminus plotting preferences
plusminus.plotError | 0 | If true, plots error envelopes in plusminus comparison graphs
histogram |  | Settings controlling histogram plotting preferences
histogram.displayLegend | 0 | If true, displays legend in bin statistics graphs

## Cytometer
Rainbow Beads
Lot (Bead Batch) | Bead Model | Range Min (log10) | Range Max (log10) | Peak Threshold | Bead Channel | Filename
AF01 | SpheroTech RCP-30-5A | 2.6 |  | 500 | FITC | JHT2_20180429_Group1_Plate1_H4.fcs
Autofluorescence
Wild Type (WT) or Blank Plasmid (NT) | Construct ID |  |  |  |  | Filename
blank plasmid | none |  |  |  |  | JHT2_20180429_Group1_Plate1_C4.fcs
Fluorochromes
Channel (1 to 8) | Fluoro- chrome | Channel name (Area) | Constitutive/Input/Output | Excitation wavelength (nm) | Bandpass Emission Filter (center nm/ width nm) | Filename | Line Color | Construct ID
1 (ERF channel) | GFP | GFP-A | Output | 488 | 510/10 | JHT2_20180429_Group1_Plate1_D4.fcs | g
2 | BFP | BFP-A | Input | 405 | 450/50 | JHT2_20180429_Group1_Plate1_F4.fcs | b
3 | mRuby | mRuby2-A | Constitutive | 561 | 610/20 | JHT2_20180429_Group1_Plate1_E4.fcs | r
4
5
6
7
8
Color Translation
Number of channels | Name | Convert to unit | Channel to convert to | Display Translation Plot | Translation Channel Min | Filename
3 | all | MEFL | GFP-A | 1 | 2,2,2 | JHT2_20180429_Group1_Plate1_G4.fcs
Additional Preferences for Color Model
Plot Path | Secondary Bead Channel (leave blank if NA) | Display Noise Plot | Validate All Channels | Output File Name |  | Channel to convert to | Channel to convert to
plots7/ | mRuby2-A | 0 | 0 | CMJHT2
Note: This sheet is mainly used to generate the Color Model.

## Samples
EXPERIMENT COMPONENTS:
SAMPLE NUMBER | DOSE | Flp | shFF4 | DOX | TIME | 6 | 7 | 8 | SAMPLE LOCATION(s) | SAMPLE NAME | File Names 1 (96w) | File Names 2 (96w) | File Names 3 (96w) | Exlude from Batch Analysis
1 | X | No | - | - | 6 hrs |  |  |  | A1,A2,A3 | X No - - 6 hrs | JHT2_20180429_Group1_Plate1_A1.fcs | JHT2_20180429_Group1_Plate1_A2.fcs | JHT2_20180429_Group1_Plate1_A3.fcs
2 | A | No | LC41 | - | 6 hrs |  |  |  | B1,B2,B3 | A No LC41 - 6 hrs | JHT2_20180429_Group1_Plate1_B1.fcs | JHT2_20180429_Group1_Plate1_B2.fcs | JHT2_20180429_Group1_Plate1_B3.fcs
3 | B | No | LC41 | - | 6 hrs |  |  |  | C1,C2,C3 | B No LC41 - 6 hrs | JHT2_20180429_Group1_Plate1_C1.fcs | JHT2_20180429_Group1_Plate1_C2.fcs | JHT2_20180429_Group1_Plate1_C3.fcs
4 | C | No | LC20 | - | 6 hrs |  |  |  | D1,D2,D3 | C No LC20 - 6 hrs | JHT2_20180429_Group1_Plate1_D1.fcs | JHT2_20180429_Group1_Plate1_D2.fcs | JHT2_20180429_Group1_Plate1_D3.fcs
5 | D | No | LC20 | - | 6 hrs |  |  |  | E1,E2,E3 | D No LC20 - 6 hrs | JHT2_20180429_Group1_Plate1_E1.fcs | JHT2_20180429_Group1_Plate1_E2.fcs | JHT2_20180429_Group1_Plate1_E3.fcs
6 | X | No | - | + | 6 hrs |  |  |  | F1,F2,F3 | X No - + 6 hrs | JHT2_20180429_Group1_Plate1_F1.fcs | JHT2_20180429_Group1_Plate1_F2.fcs | JHT2_20180429_Group1_Plate1_F3.fcs
7 | A | No | LC41 | + | 6 hrs |  |  |  | G1,G2,G3 | A No LC41 + 6 hrs | JHT2_20180429_Group1_Plate1_G1.fcs | JHT2_20180429_Group1_Plate1_G2.fcs | JHT2_20180429_Group1_Plate1_G3.fcs
8 | B | No | LC41 | + | 6 hrs |  |  |  | H1,H2,H3 | B No LC41 + 6 hrs | JHT2_20180429_Group1_Plate1_H1.fcs | JHT2_20180429_Group1_Plate1_H2.fcs | JHT2_20180429_Group1_Plate1_H3.fcs
9 | C | No | LC20 | + | 6 hrs |  |  |  | A4,A5,A6 | C No LC20 + 6 hrs | JHT2_20180429_Group1_Plate1_A4.fcs | JHT2_20180429_Group1_Plate1_A5.fcs | JHT2_20180429_Group1_Plate1_A6.fcs
10 | D | No | LC20 | + | 6 hrs |  |  |  | B4,B5,B6 | D No LC20 + 6 hrs | JHT2_20180429_Group1_Plate1_B4.fcs | JHT2_20180429_Group1_Plate1_B5.fcs | JHT2_20180429_Group1_Plate1_B6.fcs
11 | Blank |  |  |  | 6 hrs |  |  |  | C4,C5,C6 | Blank 6 hrs | JHT2_20180429_Group1_Plate1_C4.fcs | JHT2_20180429_Group1_Plate1_C5.fcs | JHT2_20180429_Group1_Plate1_C6.fcs | 1
12 | GFP |  |  |  | 6 hrs |  |  |  | D4,D5,D6 | GFP 6 hrs | JHT2_20180429_Group1_Plate1_D4.fcs | JHT2_20180429_Group1_Plate1_D5.fcs | JHT2_20180429_Group1_Plate1_D6.fcs | 1
13 | mRuby |  |  |  | 6 hrs |  |  |  | E4,E5,E6 | mRuby 6 hrs | JHT2_20180429_Group1_Plate1_E4.fcs | JHT2_20180429_Group1_Plate1_E5.fcs | JHT2_20180429_Group1_Plate1_E6.fcs | 1
14 | BFP |  |  |  | 6 hrs |  |  |  | F4,F5,F6 | BFP 6 hrs | JHT2_20180429_Group1_Plate1_F4.fcs | JHT2_20180429_Group1_Plate1_F5.fcs | JHT2_20180429_Group1_Plate1_F6.fcs | 1
15 | ALL |  |  |  | 6 hrs |  |  |  | G4,G5,G6 | ALL 6 hrs | JHT2_20180429_Group1_Plate1_G4.fcs | JHT2_20180429_Group1_Plate1_G5.fcs | JHT2_20180429_Group1_Plate1_G6.fcs | 1
16 | BEADS |  |  |  | 6 hrs |  |  |  | H4,H5,H6 | BEADS 6 hrs | JHT2_20180429_Group1_Plate1_H4.fcs | JHT2_20180429_Group1_Plate1_H5.fcs | JHT2_20180429_Group1_Plate1_H6.fcs | 1
Note: This sheet lists out the samples and their corresponding locations and filenames. It is also used for batch analysis.
Additional Preferences for Batch Analysis
| Plot Path | CM Filename | Stem Name | Fixed Input Axis X,Y | Output Filename | Min Valid Count | Pem Drop Threshold | Use Auto Fluorescence | Min Fraction Active | Bin Sequence: Min Bin | Bin Sequence: Bins per Decade | Bin Sequence: Max Bin
| plots5_5/ | ../template_colormodel/CM062618.mat |  | 10000,1e10 | JHT2-batch.mat | 100 | 5 | 0 | 0.6 | 4 | 0.1 | 1011

## 96w
96 WELL PLATE
Plate 1
|  | A | B | C | D | E | F | G | H
| 1 | X No - - 6 hrs | A No LC41 - 6 hrs | B No LC41 - 6 hrs | C No LC20 - 6 hrs | D No LC20 - 6 hrs | X No - + 6 hrs | A No LC41 + 6 hrs | B No LC41 + 6 hrs
| 2 | X No - - 6 hrs | A No LC41 - 6 hrs | B No LC41 - 6 hrs | C No LC20 - 6 hrs | D No LC20 - 6 hrs | X No - + 6 hrs | A No LC41 + 6 hrs | B No LC41 + 6 hrs
| 3 | X No - - 6 hrs | A No LC41 - 6 hrs | B No LC41 - 6 hrs | C No LC20 - 6 hrs | D No LC20 - 6 hrs | X No - + 6 hrs | A No LC41 + 6 hrs | B No LC41 + 6 hrs
| 4 | C No LC20 + 6 hrs | D No LC20 + 6 hrs | Blank 6 hrs | GFP 6 hrs | mRuby 6 hrs | BFP 6 hrs | ALL 6 hrs | BEADS 6 hrs
| 5 | C No LC20 + 6 hrs | D No LC20 + 6 hrs | Blank 6 hrs | GFP 6 hrs | mRuby 6 hrs | BFP 6 hrs | ALL 6 hrs | BEADS 6 hrs
| 6 | C No LC20 + 6 hrs | D No LC20 + 6 hrs | Blank 6 hrs | GFP 6 hrs | mRuby 6 hrs | BFP 6 hrs | ALL 6 hrs | BEADS 6 hrs
7
8
9
10
11
12
Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: 1; 2: 1; 3: 1; 4: 9; 5: 9; 6: 9
| B | 1: 2; 2: 2; 3: 2; 4: 10; 5: 10; 6: 10
| C | 1: 3; 2: 3; 3: 3; 4: 11; 5: 11; 6: 11
| D | 1: 4; 2: 4; 3: 4; 4: 12; 5: 12; 6: 12
| E | 1: 5; 2: 5; 3: 5; 4: 13; 5: 13; 6: 13
| F | 1: 6; 2: 6; 3: 6; 4: 14; 5: 14; 6: 14
| G | 1: 7; 2: 7; 3: 7; 4: 15; 5: 15; 6: 15
| H | 1: 8; 2: 8; 3: 8; 4: 16; 5: 16; 6: 16
Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: X No - - 6 hrs; 2: X No - - 6 hrs; 3: X No - - 6 hrs; 4: C No LC20 + 6 hrs; 5: C No LC20 + 6 hrs; 6: C No LC20 + 6 hrs
| B | 1: A No LC41 - 6 hrs; 2: A No LC41 - 6 hrs; 3: A No LC41 - 6 hrs; 4: D No LC20 + 6 hrs; 5: D No LC20 + 6 hrs; 6: D No LC20 + 6 hrs
| C | 1: B No LC41 - 6 hrs; 2: B No LC41 - 6 hrs; 3: B No LC41 - 6 hrs; 4: Blank 6 hrs; 5: Blank 6 hrs; 6: Blank 6 hrs
| D | 1: C No LC20 - 6 hrs; 2: C No LC20 - 6 hrs; 3: C No LC20 - 6 hrs; 4: GFP 6 hrs; 5: GFP 6 hrs; 6: GFP 6 hrs
| E | 1: D No LC20 - 6 hrs; 2: D No LC20 - 6 hrs; 3: D No LC20 - 6 hrs; 4: mRuby 6 hrs; 5: mRuby 6 hrs; 6: mRuby 6 hrs
| F | 1: X No - + 6 hrs; 2: X No - + 6 hrs; 3: X No - + 6 hrs; 4: BFP 6 hrs; 5: BFP 6 hrs; 6: BFP 6 hrs
| G | 1: A No LC41 + 6 hrs; 2: A No LC41 + 6 hrs; 3: A No LC41 + 6 hrs; 4: ALL 6 hrs; 5: ALL 6 hrs; 6: ALL 6 hrs
| H | 1: B No LC41 + 6 hrs; 2: B No LC41 + 6 hrs; 3: B No LC41 + 6 hrs; 4: BEADS 6 hrs; 5: BEADS 6 hrs; 6: BEADS 6 hrs

## 24w
24 WELL PLATE
| Plate 1 | [6 empty] | Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 |  | A | B | C | D
| A | [6 empty] | 1
| B | [6 empty] | 2
| C | [6 empty] | 3
| D | [6 empty] | 4
5
6

## 48w
48 WELL PLATE
| Plate 1 | [8 empty] | Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | A | B | C | D | E | F
| A | [8 empty] | 1
| B | [8 empty] | 2
| C | [8 empty] | 3
| D | [8 empty] | 4
| E | [8 empty] | 5
| F | [8 empty] | 6
7
8